HEMATOXYLIN-EOSIN STAINING PROTOCOL

(CAT# HE09-40R)

Reagents/solution:

- HE stain kit (Cat# HE09-40R) contains:

- Hematoxylin solution (Cat#H08-20R)

- Eosin Y solution (Cat#07-20R)

- 0.3% hydrochloric acid alcohol.

- Gradient Alcohol (70 -100%)

- Distilled and Tap water

- Xylene or HistoClear

Method

- Dewax sections in Xylene or HistoClear (2-3 change of 3 minutes each)

- Rehydrate in alcohol (100%, 95%, 70%), 3 minutes each

- Bring sections to distilled water

- Stain nuclei with the haematoxylin (Cat#H08-20R) for 4-10 minutes

- Rinse in running tap water

- Differentiate with 0.3% acid alcohol

- Rinse in tap water

- Stain with eosin (Cat#07-20R) for 30 second - 2 minutes

- Dehydrate in alcohol (70%, 95%, 100%), 3 minutes each

- Clear the staining with Xylene or HistoClear and mount.

- Allow dry in fume hood